## heat loss short - site built
Weatherization Automated Heat Loss Form - Site Built
|  | Design Temperature Difference | [6 empty] | 65
|  | Name | Exposure |  |  | U-value | HTM | Type | Total Area |  |  |  |  | btu/H loss
Sidewall Gross Area
1 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
2 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
3 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
4 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
Glass | [13 empty] | .
1 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
2 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
3 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
4 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
0
Doors | [13 empty] | .
1 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
| 2 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
| 3 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
4 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
0
Sidewall Net Area | [13 empty] | .
1 |  | 0 | 0 |  |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
2 |  | 0 | 0 |  |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
3 |  | 0 | 0 |  |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
4 |  | 0 | 0 |  |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
Ceilings | [13 empty] | .
1 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
2 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
3 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | .
Floors/Foundation | [14 empty] | SLAB | AREA | BOTH
1 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | . | FALSE | FALSE | FALSE
| 2 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | . | FALSE | FALSE | FALSE
| 3 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
| 4 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
| 5 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
6 | [5 empty] | #N/A | #N/A | 16 | [5 empty] | . | FALSE | FALSE | FALSE
Blower Door Testing
CFM@50Pa
Infiltration Multiplier
[6 empty] | #N/A | #N/A |  | #N/A |  |  |  |  | #N/A
SUB TOTAL LOSS | [13 empty] | #N/A
Duct Location |  |  |  | VENTED ATTIC / KNEEWALL SPACE | UNCONDITIONED BASEMENT / CLOSED CRAWL | GARAGE | BELOW SLAB FLOOR
System Type
Heat Loss Factor |  |  |  | #N/A | #N/A | #N/A | #N/A |  | 1
|  |  |  | 16 | 16 | 16 | 16
|  |  |  | 1 | 1 | 1 | 1 |  | 1
Wall Insulation R- Value
Wall Insulation Correction Factor |  |  |  | #N/A | #N/A | #N/A | #N/A |  | 1
|  |  |  | 16 | 16 | 16 | 16
|  |  |  | 1 | 1 | 1 | 1 |  | 1
Duct Multiplier | [13 empty] | 1
Duct Loss | [13 empty] | 0
FALSE
Total btu loss | [13 empty] | #N/A
[9 empty] | 80% |  |  |  |  | #N/A
found a bug? email me: |  |  | dphillips [at] incap.org | [5 empty] | 90%+ |  |  |  |  | #N/A
HTM VALUE
Single Pane Window |  |  | SINGLE PANE WINDOW; CLEAR GLASS; WOOD FRAME |  |  |  | 0.99
|  |  | SINGLE PANE WINDOW; CLEAR GLASS; T.I.M. FRAME |  |  |  | 1.045
|  |  | SINGLE PANE WINDOW; CLEAR GLASS; METAL FRAME |  |  |  | 1.155
Single Pane Window & Storm |  |  | SINGLE PANE WINDOW & STORM; CLEAR GLASS; WOOD FRAME |  |  |  | 0.475
|  |  | SINGLE PANE WINDOW & STORM; CLEAR GLASS; T.I.M. FRAME |  |  |  | 0.525
|  |  | SINGLE PANE WINDOW & STORM; CLEAR GLASS; METAL FRAME |  |  |  | 0.65
|  |  | SINGLE PANE WINDOW & STORM; LOW E; WOOD FRAME |  |  |  | 0.418
|  |  | SINGLE PANE WINDOW & STORM; LOW E; T.I.M. FRAME |  |  |  | 0.462
|  |  | SINGLE PANE WINDOW & STORM; LOW E; METAL FRAME |  |  |  | 0.572
Double Pane Window |  |  | DOUBLE PANE WINDOW; CLEAR GLASS; WOOD FRAME |  |  |  | 0.551
|  |  | DOUBLE PANE WINDOW; CLEAR GLASS; T.I.M. FRAME |  |  |  | 0.609
|  |  | DOUBLE PANE WINDOW; CLEAR GLASS; METAL FRAME |  |  |  | 0.725
|  |  | DOUBLE PANE WINDOW; LOW E; WOOD FRAME |  |  |  | 0.361
|  |  | DOUBLE PANE WINDOW; LOW E; T.I.M. FRAME |  |  |  | 0.399
|  |  | DOUBLE PANE WINDOW; LOW E; METAL FRAME |  |  |  | 0.475
|  |  | DOUBLE PANE WINDOW; BLINDS IN PANE; WOOD FRAME |  |  |  | 0.238
|  |  | DOUBLE PANE WINDOW; BLINDS IN PANE; T.I.M. FRAME |  |  |  | 0.263
Double Pane Window & Storm |  |  | DOUBLE PANE WINDOW & STORM; CLEAR GLASS; WOOD FRAME |  |  |  | 0.341
|  |  | DOUBLE PANE WINDOW & STORM; CLEAR GLASS; T.I.M. FRAME |  |  |  | 0.385
|  |  | DOUBLE PANE WINDOW & STORM; CLEAR GLASS; METAL FRAME |  |  |  | 0.49
|  |  | DOUBLE PANE WINDOW & STORM; LOW E; WOOD FRAME |  |  |  | 0.263
|  |  | DOUBLE PANE WINDOW & STORM; LOW E; T.I.M. FRAME |  |  |  | 0.297
|  |  | DOUBLE PANE WINDOW & STORM; LOW E; METAL FRAME |  |  |  | 0.378
Triple Pane Window |  |  | TRIPLE PANE WINDOW; CLEAR GLASS; WOOD FRAME |  |  |  | 0.36
|  |  | TRIPLE PANE WINDOW; CLEAR GLASS; T.I.M. FRAME |  |  |  | 0.439
|  |  | TRIPLE PANE WINDOW; CLEAR GLASS; METAL FRAME |  |  |  | 0.545
|  |  | TRIPLE PANE WINDOW; LOW E; WOOD FRAME |  |  |  | 0.312
|  |  | TRIPLE PANE WINDOW; LOW E; T.I.M. FRAME |  |  |  | 0.36
|  |  | TRIPLE PANE WINDOW; LOW E; METAL FRAME |  |  |  | 0.448
|  |  | TRIPLE PANE WINDOW; STORM; WOOD FRAME |  |  |  | 0.263
|  |  | TRIPLE PANE WINDOW; STORM; T.I.M. FRAME |  |  |  | 0.311
|  |  | TRIPLE PANE WINDOW; STORM; METAL FRAME |  |  |  | 0.378
Jalousie Windows |  |  | JALOUSIE WINDOW; SINGLE GLASS; METAL FRAME |  |  |  | 1.1
|  |  | JALOUSIE WINDOW; STORM; METAL FRAME |  |  |  | 0.5
Skylights |  |  | SKYLIGHT; SINGLE; CLEAR GLASS; WOOD FRAME |  |  |  | 1.107
|  |  | SKYLIGHT; SINGLE; CLEAR GLASS; T.I.M. FRAME |  |  |  | 1.169
|  |  | SKYLIGHT; SINGLE; CLEAR GLASS; METAL FRAME |  |  |  | 1.292
|  |  | SKYLIGHT; SINGLE; PLASTIC DOME; WOOD FRAME |  |  |  | 1.035
|  |  | SKYLIGHT; SINGLE; PLASTIC DOME; T.I.M. FRAME |  |  |  | 1.093
|  |  | SKYLIGHT; SINGLE; PLASTIC DOME; METAL FRAME |  |  |  | 1.208
|  |  | SKYLIGHT; DOUBLE; WOOD FRAME |  |  |  | 0.665
|  |  | SKYLIGHT; DOUBLE; T.I.M. FRAME |  |  |  | 0.735
|  |  | SKYLIGHT; DOUBLE; METAL FRAME |  |  |  | 0.875
|  |  | SKYLIGHT; DOUBLE; LOW E; WOOD FRAME |  |  |  | 0.494
|  |  | SKYLIGHT; DOUBLE; LOW E; T.I.M. FRAME |  |  |  | 0.546
|  |  | SKYLIGHT; DOUBLE; LOW E; METAL FRAME |  |  |  | 0.65
(blank)
Wood Doors |  |  | WOOD DOOR; HOLLOW CORE |  |  |  | 0.56
|  |  | WOOD DOOR; HOLLOW CORE; WOOD STORM |  |  |  | 0.33
|  |  | WOOD DOOR; HOLLOW CORE; METAL STORM |  |  |  | 0.36
|  |  | WOOD DOOR; SOLID CORE |  |  |  | 0.46
|  |  | WOOD DOOR; SOLID CORE; WOOD STORM |  |  |  | 0.29
|  |  | WOOD DOOR; SOLID CORE; METAL STORM |  |  |  | 0.32
|  |  | WOOD DOOR; PANEL |  |  |  | 0.67
|  |  | WOOD DOOR; PANEL; WOOD STORM |  |  |  | 0.36
|  |  | WOOD DOOR; PANEL; METAL STORM |  |  |  | 0.41
Metal Doors |  |  | METAL DOOR; FIBERGLASS CORE |  |  |  | 0.59
|  |  | METAL DOOR; FIBERGLASS CORE; STORM |  |  |  | 0.367
|  |  | METAL DOOR; POLYSTYRENE CORE |  |  |  | 0.47
|  |  | METAL DOOR; POLYSTYRENE CORE; STORM |  |  |  | 0.317
|  |  | METAL DOOR; URETHANE CORE |  |  |  | 0.19
|  |  | METAL DOOR; URETHANE CORE; STORM |  |  |  | 0.17
(blank)
Exterior Walls |  |  | EMPTY WALL |  |  |  | 0.271
|  |  | 4" FIBERGLASS |  |  |  | 0.1
|  |  | 4" DENSE PACK CELLULOSE |  |  |  | 0.066667
|  |  | 6" FIBERGLASS |  |  |  | 0.066667
|  |  | 6" DENSE PACK CELLULOSE |  |  |  | 0.05
Masonry walls above grade |  |  | BLOCK WALL; ABOVE GRADE |  |  |  | 0.51
|  |  | BLOCK WALL; ABOVE GRADE; R-5 |  |  |  | 0.144
|  |  | BLOCK WALL; ABOVE GRADE; R-10 |  |  |  | 0.077
|  |  | BLOCK WALL; ABOVE GRADE; R-19 |  |  |  | 0.048
Masonry walls below grade |  |  | BLOCK WALL; BELOW GRADE |  |  |  | 0.125
|  |  | BLOCK WALL; BELOW GRADE; R-5 |  |  |  | 0.074
|  |  | BLOCK WALL; BELOW GRADE; R-10 |  |  |  | 0.051
|  |  | BLOCK WALL; BELOW GRADE; R-19 |  |  |  | 0.034
Basement walls |  |  | BASEMENT WALL |  |  |  | 0.087
|  |  | BASEMENT WALL; R-5 |  |  |  | 0.059
|  |  | BASEMENT WALL; R-10 |  |  |  | 0.043
|  |  | BASEMENT WALL; R-19 |  |  |  | 0.031
Floors over 'closed crawl' |  |  | "CLOSED CRAWL"; HARDWOOD; NO INSULATION |  |  |  | 0.156
|  |  | "CLOSED CRAWL"; HARDWOOD; R-11 |  |  |  | 0.04
|  |  | "CLOSED CRAWL"; HARDWOOD; R-13 |  |  |  | 0.038
|  |  | "CLOSED CRAWL"; HARDWOOD; R-19 |  |  |  | 0.026
|  |  | "CLOSED CRAWL"; HARDWOOD; R-30 |  |  |  | 0.0185
|  |  | "CLOSED CRAWL"; CARPET; NO INSULATION |  |  |  | 0.109
|  |  | "CLOSED CRAWL"; CARPET; R-11 |  |  |  | 0.0355
|  |  | "CLOSED CRAWL"; CARPET; R-13 |  |  |  | 0.034
|  |  | "CLOSED CRAWL"; CARPET; R-19 |  |  |  | 0.024
|  |  | "CLOSED CRAWL"; CARPET; R-30 |  |  |  | 0.0175
Floors over open crawl |  |  | OPEN CRAWL; HARDWOOD; NO INSULATION |  |  |  | 0.312
|  |  | OPEN CRAWL; HARDWOOD; R-11 |  |  |  | 0.08
|  |  | OPEN CRAWL; HARDWOOD; R-13 |  |  |  | 0.076
|  |  | OPEN CRAWL; HARDWOOD; R-19 |  |  |  | 0.052
|  |  | OPEN CRAWL; HARDWOOD; R-30 |  |  |  | 0.037
|  |  | OPEN CRAWL; CARPET; NO INSULATION |  |  |  | 0.218
|  |  | OPEN CRAWL; CARPET; R-11 |  |  |  | 0.071
|  |  | OPEN CRAWL; CARPET; R-13 |  |  |  | 0.068
|  |  | OPEN CRAWL; CARPET; R-19 |  |  |  | 0.048
|  |  | OPEN CRAWL; CARPET; R-30 |  |  |  | 0.035
Basement Floor |  |  | BASEMENT FLOOR; MORE THAN 2 FEET BELOW GRADE |  |  |  | 0.024
Concrete Slab on Grade |  |  | SLAB; NO INSULATION |  |  |  | 0.81
|  |  | SLAB; R-5 |  |  |  | 0.41
|  |  | SLAB; R-8 |  |  |  | 0.27
|  |  | SLAB; R-10 |  |  |  | 0.21
blank
Ceilings |  |  | CEILING; UNINSULATED |  |  |  | 0.599
|  |  | CEILING; R-7 |  |  |  | 0.12
|  |  | CEILING; R-11 |  |  |  | 0.088
|  |  | CEILING; R-19 |  |  |  | 0.053
|  |  | CEILING; R-22 |  |  |  | 0.048
|  |  | CEILING; R-26 |  |  |  | 0.038
|  |  | CEILING; R-30 |  |  |  | 0.033
|  |  | CEILING; R-38 |  |  |  | 0.026
|  |  | CEILING; R-44 |  |  |  | 0.023
|  |  | CEILING; R-56 |  |  |  | 0.017
Cathedral Ceilings |  |  | CATHEDRAL; UNINSULATED |  |  |  | 0.308
|  |  | CATHEDRAL; R-7 |  |  |  | 0.12
|  |  | CATHEDRAL; R-11 |  |  |  | 0.072
|  |  | CATHEDRAL; R-19 |  |  |  | 0.049
|  |  | CATHEDRAL; R-22 |  |  |  | 0.045
|  |  | CATHEDRAL; R-30 |  |  |  | 0.04
(blank)
Infiltration Load |  |  | 1 STORY; NO SHIELDING |  |  |  | 11.8
|  |  | 1 STORY; LIGHT SHIELDING |  |  |  | 12.7
|  |  | 1 STORY; MODERATE SHIELDING |  |  |  | 13.9
|  |  | 1 STORY; HEAVY SHIELDING |  |  |  | 15.4
|  |  | 1 STORY; VERY HEAVY SHEILDING |  |  |  | 17.5
|  |  | 2 STORY; NO SHIELDING |  |  |  | 9.4
|  |  | 2 STORY; LIGHT SHIELDING |  |  |  | 10
|  |  | 2 STORY; MODERATE SHIELDING |  |  |  | 10.6
|  |  | 2 STORY; HEAVY SHIELDING |  |  |  | 11.5
|  |  | 2 STORY; VERY HEAVY SHEILDING |  |  |  | 12.6
|  |  | 3 STORY; NO SHIELDING |  |  |  | 8
|  |  | 3 STORY; LIGHT SHIELDING |  |  |  | 8.5
|  |  | 3 STORY; MODERATE SHIELDING |  |  |  | 9
|  |  | 3 STORY; HEAVY SHIELDING |  |  |  | 9.6
|  |  | 3 STORY; VERY HEAVY SHEILDING |  |  |  | 10.4
Duct Location |  |  | VENTED ATTIC / KNEEWALL SPACE |  |  |  | 1
|  |  | UNCONDITIONED BASEMENT / CLOSED CRAWL |  |  |  | 2
|  |  | GARAGE |  |  |  | 3
|  |  | BELOW SLAB FLOOR |  |  |  | 4
Duct Load (1) |  |  | TRUNK & BRANCH; 1000 SQFT |  |  |  | 0.16
|  |  | TRUNK & BRANCH; 1500 SQFT |  |  |  | 0.19
|  |  | TRUNK & BRANCH; 2000 SQFT |  |  |  | 0.2
|  |  | TRUNK & BRANCH; 2500 SQFT |  |  |  | 0.22
|  |  | TRUNK & BRANCH; 3000 SQFT |  |  |  | 0.24
|  |  | RADIAL; 1000 SQFT |  |  |  | 0.08
|  |  | RADIAL; 1500 SQFT |  |  |  | 0.1
|  |  | RADIAL; 2000 SQFT |  |  |  | 0.12
|  |  | RADIAL; 2500 SQFT |  |  |  | 0.13
|  |  | RADIAL; 3000 SQFT |  |  |  | 0.14
Insulation Correction (1) |  |  | TRUNK & BRANCH; R-0 |  |  |  | 1.85
|  |  | TRUNK & BRANCH; R-2 |  |  |  | 1.85
|  |  | TRUNK & BRANCH; R-4 |  |  |  | 1.24
|  |  | TRUNK & BRANCH; R-6 |  |  |  | 1
|  |  | TRUNK & BRANCH; R-8 |  |  |  | 0.85
|  |  | RADIAL; R-0 |  |  |  | 1.99
|  |  | RADIAL; R-2 |  |  |  | 1.99
|  |  | RADIAL; R-4 |  |  |  | 1.37
|  |  | RADIAL; R-6 |  |  |  | 1
|  |  | RADIAL; R-8 |  |  |  | 0.87
Duct Load (2) |  |  | 1000 SQFT |  |  |  | 0.07
|  |  | 1500 SQFT |  |  |  | 0.09
|  |  | 2000 SQFT |  |  |  | 0.1
|  |  | 2500 SQFT |  |  |  | 0.11
|  |  | 3000 SQFT |  |  |  | 0.11
Insulation Correction (2) |  |  | R-0 |  |  |  | 1.74
|  |  | R-2 |  |  |  | 1.74
|  |  | R-4 |  |  |  | 1.2
|  |  | R-6 |  |  |  | 1
|  |  | R-8 |  |  |  | 0.89
Duct Load (3) |  |  | TRUNK & BRANCH; 1000 SQFT |  |  |  | 0.26
|  |  | TRUNK & BRANCH; 1500 SQFT |  |  |  | 0.3
|  |  | TRUNK & BRANCH; 2000 SQFT |  |  |  | 0.34
|  |  | TRUNK & BRANCH; 2500 SQFT |  |  |  | 0.36
|  |  | TRUNK & BRANCH; 3000 SQFT |  |  |  | 0.41
|  |  | RADIAL; 1000 SQFT |  |  |  | 0.18
|  |  | RADIAL; 1500 SQFT |  |  |  | 0.2
|  |  | RADIAL; 2000 SQFT |  |  |  | 0.25
|  |  | RADIAL; 2500 SQFT |  |  |  | 0.28
|  |  | RADIAL; 3000 SQFT |  |  |  | 0.34
Insulation Correction (3) |  |  | TRUNK & BRANCH; R-0 |  |  |  | 2.17
|  |  | TRUNK & BRANCH; R-2 |  |  |  | 2.17
|  |  | TRUNK & BRANCH; R-4 |  |  |  | 1.31
|  |  | TRUNK & BRANCH; R-6 |  |  |  | 1
|  |  | TRUNK & BRANCH; R-8 |  |  |  | 0.86
|  |  | RADIAL; R-0 |  |  |  | 2.45
|  |  | RADIAL; R-2 |  |  |  | 2.45
|  |  | RADIAL; R-4 |  |  |  | 1.34
|  |  | RADIAL; R-6 |  |  |  | 1
|  |  | RADIAL; R-8 |  |  |  | 0.83
Duct Load (4) |  |  | RADIAL; 1000 SQFT |  |  |  | 0.04
|  |  | RADIAL; 1500 SQFT |  |  |  | 0.05
|  |  | RADIAL; 2000 SQFT |  |  |  | 0.05
|  |  | RADIAL; 2500 SQFT |  |  |  | 0.06
|  |  | RADIAL; 3000 SQFT |  |  |  | 0.06
Insulation Correction (4) |  |  | R-0 |  |  |  | 1.25
|  |  | R-2 |  |  |  | 1.25
|  |  | R-4 |  |  |  | 1.07
|  |  | R-6 |  |  |  | 1
|  |  | R-8 |  |  |  | 0.88
Note on D5: Dan Phillips: Sidewall 1 should be the wall system with the most windows & door components.
Note on A35: Dan Phillips: Don't forget, Slab elements are entered in LINEAR feet, not square feet.

## heat loss short - mobile home
Weatherization Automated Heat Loss Form - Mobile Home
|  | Design Temperature Difference | [5 empty] | 65
|  | Name | Exposure |  | U-value | HTM | Type | Total Area |  |  |  |  | btu/H loss
Sidewall Gross Area
1 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
2 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
3 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
4 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
Glass | [12 empty] | .
1 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
2 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
3 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
4 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
0
Doors | [12 empty] | .
1 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
| 2 |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
| 3 |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
4 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
0
Sidewall Net Area | [12 empty] | .
1 |  | 0 | 0 |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
2 |  | 0 | 0 |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
3 |  | 0 | 0 |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
4 |  | 0 | 0 |  | #N/A | #N/A | 16 | 0 | . | FALSE | 1 | 17 | .
Ceilings | [12 empty] | .
1 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
2 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
3 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | .
Belly | [13 empty] | SLAB | AREA | BOTH
1 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | . | #REF! | FALSE | #REF!
| 2 |  |  |  | #N/A | #N/A | 16 | [5 empty] | . | #REF! | FALSE | #REF!
3 |  |  |  |  | #N/A | #N/A | 16 | [5 empty] | . | #REF! | FALSE | #REF!
Blower Door Testing
CFM@50Pa
Infiltration Multiplier
[5 empty] | #N/A | #N/A |  | #N/A |  |  |  |  | #N/A
SUB TOTAL LOSS | [12 empty] | #N/A
Duct Location |  |  |  | BELLY
System Type
Heat Loss Factor |  |  |  | #N/A |  |  |  | 1
16
|  |  |  | 1 |  |  |  | 1
Duct Insulation R- Value
Wall Insulation Correction Factor |  |  |  | #N/A |  |  |  | 1
16
|  |  |  | 1 |  |  |  | 1
Duct Multiplier | [12 empty] | 1
Duct Loss | [12 empty] | 0
FALSE
Total btu loss | [12 empty] | #N/A
[8 empty] | 80% |  |  |  |  | #N/A
found a bug? email me: |  |  | dphillips [at] incap.org |  |  |  |  | 90%+ |  |  |  |  | #N/A
HTM VALUE
Single Pane Window |  |  | SINGLE PANE WINDOW; CLEAR GLASS; WOOD FRAME |  |  | 0.99
|  |  | SINGLE PANE WINDOW; CLEAR GLASS; T.I.M. FRAME |  |  | 1.045
|  |  | SINGLE PANE WINDOW; CLEAR GLASS; METAL FRAME |  |  | 1.155
Single Pane Window & Storm |  |  | SINGLE PANE WINDOW & STORM; CLEAR GLASS; WOOD FRAME |  |  | 0.475
|  |  | SINGLE PANE WINDOW & STORM; CLEAR GLASS; T.I.M. FRAME |  |  | 0.525
|  |  | SINGLE PANE WINDOW & STORM; CLEAR GLASS; METAL FRAME |  |  | 0.65
|  |  | SINGLE PANE WINDOW & STORM; LOW E; WOOD FRAME |  |  | 0.418
|  |  | SINGLE PANE WINDOW & STORM; LOW E; T.I.M. FRAME |  |  | 0.462
|  |  | SINGLE PANE WINDOW & STORM; LOW E; METAL FRAME |  |  | 0.572
Double Pane Window |  |  | DOUBLE PANE WINDOW; CLEAR GLASS; WOOD FRAME |  |  | 0.551
|  |  | DOUBLE PANE WINDOW; CLEAR GLASS; T.I.M. FRAME |  |  | 0.609
|  |  | DOUBLE PANE WINDOW; CLEAR GLASS; METAL FRAME |  |  | 0.725
|  |  | DOUBLE PANE WINDOW; LOW E; WOOD FRAME |  |  | 0.361
|  |  | DOUBLE PANE WINDOW; LOW E; T.I.M. FRAME |  |  | 0.399
|  |  | DOUBLE PANE WINDOW; LOW E; METAL FRAME |  |  | 0.475
|  |  | DOUBLE PANE WINDOW; BLINDS IN PANE; WOOD FRAME |  |  | 0.238
|  |  | DOUBLE PANE WINDOW; BLINDS IN PANE; T.I.M. FRAME |  |  | 0.263
Double Pane Window & Storm |  |  | DOUBLE PANE WINDOW & STORM; CLEAR GLASS; WOOD FRAME |  |  | 0.341
|  |  | DOUBLE PANE WINDOW & STORM; CLEAR GLASS; T.I.M. FRAME |  |  | 0.385
|  |  | DOUBLE PANE WINDOW & STORM; CLEAR GLASS; METAL FRAME |  |  | 0.49
|  |  | DOUBLE PANE WINDOW & STORM; LOW E; WOOD FRAME |  |  | 0.263
|  |  | DOUBLE PANE WINDOW & STORM; LOW E; T.I.M. FRAME |  |  | 0.297
|  |  | DOUBLE PANE WINDOW & STORM; LOW E; METAL FRAME |  |  | 0.378
Triple Pane Window |  |  | TRIPLE PANE WINDOW; CLEAR GLASS; WOOD FRAME |  |  | 0.36
|  |  | TRIPLE PANE WINDOW; CLEAR GLASS; T.I.M. FRAME |  |  | 0.439
|  |  | TRIPLE PANE WINDOW; CLEAR GLASS; METAL FRAME |  |  | 0.545
|  |  | TRIPLE PANE WINDOW; LOW E; WOOD FRAME |  |  | 0.312
|  |  | TRIPLE PANE WINDOW; LOW E; T.I.M. FRAME |  |  | 0.36
|  |  | TRIPLE PANE WINDOW; LOW E; METAL FRAME |  |  | 0.448
|  |  | TRIPLE PANE WINDOW; STORM; WOOD FRAME |  |  | 0.263
|  |  | TRIPLE PANE WINDOW; STORM; T.I.M. FRAME |  |  | 0.311
|  |  | TRIPLE PANE WINDOW; STORM; METAL FRAME |  |  | 0.378
Jalousie Windows |  |  | JALOUSIE WINDOW; SINGLE GLASS; METAL FRAME |  |  | 1.1
|  |  | JALOUSIE WINDOW; STORM; METAL FRAME |  |  | 0.5
Skylights |  |  | SKYLIGHT; SINGLE; CLEAR GLASS; WOOD FRAME |  |  | 1.107
|  |  | SKYLIGHT; SINGLE; CLEAR GLASS; T.I.M. FRAME |  |  | 1.169
|  |  | SKYLIGHT; SINGLE; CLEAR GLASS; METAL FRAME |  |  | 1.292
|  |  | SKYLIGHT; SINGLE; PLASTIC DOME; WOOD FRAME |  |  | 1.035
|  |  | SKYLIGHT; SINGLE; PLASTIC DOME; T.I.M. FRAME |  |  | 1.093
|  |  | SKYLIGHT; SINGLE; PLASTIC DOME; METAL FRAME |  |  | 1.208
|  |  | SKYLIGHT; DOUBLE; WOOD FRAME |  |  | 0.665
|  |  | SKYLIGHT; DOUBLE; T.I.M. FRAME |  |  | 0.735
|  |  | SKYLIGHT; DOUBLE; METAL FRAME |  |  | 0.875
|  |  | SKYLIGHT; DOUBLE; LOW E; WOOD FRAME |  |  | 0.494
|  |  | SKYLIGHT; DOUBLE; LOW E; T.I.M. FRAME |  |  | 0.546
|  |  | SKYLIGHT; DOUBLE; LOW E; METAL FRAME |  |  | 0.65
(blank)
Wood Doors |  |  | WOOD DOOR; HOLLOW CORE |  |  | 0.56
|  |  | WOOD DOOR; HOLLOW CORE; WOOD STORM |  |  | 0.33
|  |  | WOOD DOOR; HOLLOW CORE; METAL STORM |  |  | 0.36
|  |  | WOOD DOOR; SOLID CORE |  |  | 0.46
|  |  | WOOD DOOR; SOLID CORE; WOOD STORM |  |  | 0.29
|  |  | WOOD DOOR; SOLID CORE; METAL STORM |  |  | 0.32
|  |  | WOOD DOOR; PANEL |  |  | 0.67
|  |  | WOOD DOOR; PANEL; WOOD STORM |  |  | 0.36
|  |  | WOOD DOOR; PANEL; METAL STORM |  |  | 0.41
Metal Doors |  |  | METAL DOOR; FIBERGLASS CORE |  |  | 0.59
|  |  | METAL DOOR; FIBERGLASS CORE; STORM |  |  | 0.367
|  |  | METAL DOOR; POLYSTYRENE CORE |  |  | 0.47
|  |  | METAL DOOR; POLYSTYRENE CORE; STORM |  |  | 0.317
|  |  | METAL DOOR; URETHANE CORE |  |  | 0.19
|  |  | METAL DOOR; URETHANE CORE; STORM |  |  | 0.17
(blank)
Exterior Walls |  |  | EMPTY WALL |  |  | 0.271
|  |  | 1" FIBERGLASS |  |  | 0.25
|  |  | 2" FIBERGLASS |  |  | 0.143
|  |  | 3" FIBERGLASS |  |  | 0.1
|  |  | 4" FIBERGLASS |  |  | 0.076923
Floors over 'closed crawl' |  |  | 2" FIBERGLASS - BELLY |  |  | 0.16667
|  |  | 3" FIBERGLASS - BELLY |  |  | 0.11111
|  |  | 4" FIBERGLASS - BELLY |  |  | 0.083333
|  |  | 6" FIBERGLASS - BELLY |  |  | 0.055556
|  |  | 8" FIBERGLASS - BELLY |  |  | 0.041667
|  |  | 10" FIBERGLASS - BELLY |  |  | 0.033333
|  |  | 12" FIBERGLASS - BELLY |  |  | 0.027778
Ceilings |  |  | UNINSULATED - ATTIC |  |  | 0.599
|  |  | 1" FIBERGLASS - ATTIC |  |  | 0.25
|  |  | 2" FIBERGLASS - ATTIC |  |  | 0.143
|  |  | 3" FIBERGLASS - ATTIC |  |  | 0.1
|  |  | 4" FIBERGLASS - ATTIC |  |  | 0.076923
|  |  | 6" FIBERGLASS - ATTIC |  |  | 0.052632
|  |  | 8" FIBERGLASS - ATTIC |  |  | 0.041667
|  |  | 12" FIBERGLASS - ATTIC |  |  | 0.027778
Cathedral Ceilings |  |  | CATHEDRAL; UNINSULATED |  |  | 0.308
|  |  | CATHEDRAL; 2" FIBERGLASS |  |  | 0.14286
|  |  | CATHEDRAL; 3" FIBERGLASS |  |  | 0.1
|  |  | CATHEDRAL; 4" FIBERGLASS |  |  | 0.076923
|  |  | CATHEDRAL; 6" FIBERGLASS |  |  | 0.052632
|  |  | CATHEDRAL; 8" FIBERGLASS |  |  | 0.041667
(blank)
Infiltration Load |  |  | 1 STORY; NO SHIELDING |  |  | 11.8
|  |  | 1 STORY; LIGHT SHIELDING |  |  | 12.7
|  |  | 1 STORY; MODERATE SHIELDING |  |  | 13.9
|  |  | 1 STORY; HEAVY SHIELDING |  |  | 15.4
|  |  | 1 STORY; VERY HEAVY SHEILDING |  |  | 17.5
Duct Location |  |  | VENTED ATTIC / KNEEWALL SPACE |  |  | 1
|  |  | UNCONDITIONED BASEMENT / CLOSED CRAWL |  |  | 2
|  |  | GARAGE |  |  | 3
|  |  | BELOW SLAB FLOOR |  |  | 4
Duct Load (1) |  |  | TRUNK & BRANCH; 1000 SQFT |  |  | 0.16
|  |  | TRUNK & BRANCH; 1500 SQFT |  |  | 0.19
|  |  | TRUNK & BRANCH; 2000 SQFT |  |  | 0.2
|  |  | TRUNK & BRANCH; 2500 SQFT |  |  | 0.22
|  |  | TRUNK & BRANCH; 3000 SQFT |  |  | 0.24
|  |  | RADIAL; 1000 SQFT |  |  | 0.08
|  |  | RADIAL; 1500 SQFT |  |  | 0.1
|  |  | RADIAL; 2000 SQFT |  |  | 0.12
|  |  | RADIAL; 2500 SQFT |  |  | 0.13
|  |  | RADIAL; 3000 SQFT |  |  | 0.14
Insulation Correction (1) |  |  | TRUNK & BRANCH; R-0 |  |  | 1.85
|  |  | TRUNK & BRANCH; R-2 |  |  | 1.85
|  |  | TRUNK & BRANCH; R-4 |  |  | 1.24
|  |  | TRUNK & BRANCH; R-6 |  |  | 1
|  |  | TRUNK & BRANCH; R-8 |  |  | 0.85
|  |  | RADIAL; R-0 |  |  | 1.99
|  |  | RADIAL; R-2 |  |  | 1.99
|  |  | RADIAL; R-4 |  |  | 1.37
|  |  | RADIAL; R-6 |  |  | 1
|  |  | RADIAL; R-8 |  |  | 0.87
Duct Load (2) |  |  | 1000 SQFT |  |  | 0.07
|  |  | 1500 SQFT |  |  | 0.09
|  |  | 2000 SQFT |  |  | 0.1
|  |  | 2500 SQFT |  |  | 0.11
|  |  | 3000 SQFT |  |  | 0.11
Insulation Correction (2) |  |  | R-0 |  |  | 1.74
|  |  | R-2 |  |  | 1.74
|  |  | R-4 |  |  | 1.2
|  |  | R-6 |  |  | 1
|  |  | R-8 |  |  | 0.89
Duct Load (3) |  |  | TRUNK & BRANCH; 1000 SQFT |  |  | 0.26
|  |  | TRUNK & BRANCH; 1500 SQFT |  |  | 0.3
|  |  | TRUNK & BRANCH; 2000 SQFT |  |  | 0.34
|  |  | TRUNK & BRANCH; 2500 SQFT |  |  | 0.36
|  |  | TRUNK & BRANCH; 3000 SQFT |  |  | 0.41
|  |  | RADIAL; 1000 SQFT |  |  | 0.18
|  |  | RADIAL; 1500 SQFT |  |  | 0.2
|  |  | RADIAL; 2000 SQFT |  |  | 0.25
|  |  | RADIAL; 2500 SQFT |  |  | 0.28
|  |  | RADIAL; 3000 SQFT |  |  | 0.34
Insulation Correction (3) |  |  | TRUNK & BRANCH; R-0 |  |  | 2.17
|  |  | TRUNK & BRANCH; R-2 |  |  | 2.17
|  |  | TRUNK & BRANCH; R-4 |  |  | 1.31
|  |  | TRUNK & BRANCH; R-6 |  |  | 1
|  |  | TRUNK & BRANCH; R-8 |  |  | 0.86
|  |  | RADIAL; R-0 |  |  | 2.45
|  |  | RADIAL; R-2 |  |  | 2.45
|  |  | RADIAL; R-4 |  |  | 1.34
|  |  | RADIAL; R-6 |  |  | 1
|  |  | RADIAL; R-8 |  |  | 0.83
Duct Load (4) |  |  | RADIAL; 1000 SQFT |  |  | 0.04
|  |  | RADIAL; 1500 SQFT |  |  | 0.05
|  |  | RADIAL; 2000 SQFT |  |  | 0.05
|  |  | RADIAL; 2500 SQFT |  |  | 0.06
|  |  | RADIAL; 3000 SQFT |  |  | 0.06
Insulation Correction (4) |  |  | R-0 |  |  | 1.25
|  |  | R-2 |  |  | 1.25
|  |  | R-4 |  |  | 1.07
|  |  | R-6 |  |  | 1
|  |  | R-8 |  |  | 0.88
Note on D5: Dan Phillips: Sidewall 1 should be the wall system with the most windows & door components.

## log
Date | Version | Activity
2010.11.7 | 5 | Inserted comments about slab sizes. Added slab size test. Inserted blanks at the end of each component type for easier custom component insertions.
2011.2.10 | 6 | Added mobile home specific drop down items
2014-12-22 | 8 | Aestheics changes, tweaked colors to match INCAA logo. Added SB & MH designations to title of forms
2021-05-08 | 9 | Updated gas furnace sizing default to 95% efficient from 90% efficient